## Sheet1
Square | /Users/kylemorr/Dropbox/Scripts/github/epubrowser/data/xml/20190624_121930_bubble_070619_EPU2/Images-Disc1/GridSquare_24349214/GridSquare_20190624_141039.xml
FoilHole | /Users/kylemorr/Dropbox/Scripts/github/epubrowser/data/xml/20190624_121930_bubble_070619_EPU2/Images-Disc1/GridSquare_24349214/FoilHoles/FoilHole_24359770_20190625_022121.xml
Micrograph | /Users/kylemorr/Dropbox/Scripts/github/epubrowser/data/xml/20190624_121930_bubble_070619_EPU2/Images-Disc1/GridSquare_24349214/Data/FoilHole_24359771_Data_24352908_24352909_20190625_0224.xml
| square | foilhole | micrograph
a | -3.4902e-05 | -3.4902e-05 | -3.4902e-05
b | 0.017633 | 0.017633 | 0.017633
x | 0.00032737 | 0.00032654 | 0.00032958
y | 0.00028154 | 0.00028125 | 0.00028383
z | -1.9443e-06 | -1.9178e-06 | -1.9178e-06
presume that these are image centres on X and Y and in microns
x (um) | 327.3714 | 326.5421 | 329.5779
y (um) | 281.5368 | 281.2539 | 283.834
translation delta x (um) |  | 0.82925 | -2.2065
translation delta y (um) |  | 0.28296 | -2.2972
img centre (px) | 2048
img centre (px) | 2048
pixel size of sq image | 1.5393e-08
um/px | 0.015393
translation delta x from centre (px) |  | 53.8717 | -143.3418
translation delta y from centre (px) |  | 18.3823 | -149.237
img centre x (px) |  | 2101.8717 | 1904.6582
img centre y (px) |  | 2029.6177 | 2197.237
xml files detail the centre position of the image on the whole grid in microns
process
calculate centre of square in microns on grid
calculate translation to foilhole by difference in microns
get pixel size of square (<pixelSize> <x> <numericValue>)
calculate px translation from centre of square to centre of FoilHole
add x translation to 2048, subtract y translation to 2048, to get x and y px coordinate